## Sheet1
plant | feature_count | rows_after_feature_prep | epochs_ran | selected_centers | selected_learning_rate | best_shrinkage | bias_correction_mw | bin_calibration_enabled | hourly_residual_correction_enabled | profile_blend_enabled | ramp_limit_mw | val_operational_mape | val_mae | val_rmse | val_r2 | val_ape_le_3_count | val_shape_trend_match_rate | val_shape_delta_mae | test_operational_mape | test_mae | test_rmse | test_r2 | test_ape_le_3_count | test_shape_trend_match_rate | test_shape_delta_mae | meets_thresholds | original_val_mape | original_val_mae | original_val_rmse | original_val_r2 | original_test_mape | original_test_mae | original_test_rmse | original_test_r2 | original_summary_available
agus1 | 122 | 12959 | 80 | 120 | 0.001 | 1.15 | 0.069465 | TRUE | FALSE | FALSE | 5.654 | 3.3245 | 1.6477 | 2.6984 | 0.93199 | 1204 | 0.40504 | 2.4542 | 3.439 | 1.8177 | 3.4358 | 0.89912 | 1212 | 0.39681 | 2.7382 | TRUE | not_available | not_available | not_available | not_available | not_available | not_available | not_available | not_available | FALSE